Logistics Data

| ### In order to better serve you and meet your schedule, this form must be completed and signed. Timely delivery and trouble-free installation begin with these data forms. Accurate, complete information is essential. Non-response to a question will be defined as meaning that the item does not apply. Note: For any feature, accessory, or provision NOT listed, Element Series will not be able to meet the requirements of your application. Please contact your MCE Sales Account Manager for an alternate product price quotation. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Date: |  | Number of cars: |  |  |  |
| Job Name: (26 Chars per line) |  |  |  |  |  |
| Job Location (city and state): |  |  |  |  |  |
| Contract Date: |  |  |  |  |  |
| Project Type: New construction Modernization |  |  |  |  |  |
| Customer Job #: |  | PO#: |  |  |  |
| # Delivery Schedule |  |  |  |  |  |
| Control | Delivery Date |  |  |  |  |
| Car “ ” |  |  |  |  |  |
| Car “ ” |  |  |  |  |  |
| # Shipping Information |  |  |  |  |  |
| Contact: |  |  |  |  |  |
| Phone: |  |  | Fax: |  |  |
| Company name and address: |  |  |  |  |  |
| City |  |  |  | State | Zip Code |
| ### Shipping Requirement: ### Advanced Notice: 24 hours 48 hours Truck w/ Lift Gate: Yes No |  |  |  |  |  |
| Contractor Information ( Check if same as above) |  |  |  |  |  |
| Contact: |  |  |  |  |  |
| Phone: |  |  | Fax: |  |  |
| Email: |  |  |  |  |  |
| Company name and address: |  |  |  |  |  |
| City |  |  |  | State | Zip Code |

Per state tax laws, it is critical that MCE receive exemption or resale certificates prior to the material being shipped and billed. If the job is a tax-exempt job, send the exemption certificate with this form. If you are a resale customer and have a resale certificate, please make sure that the MCE accounting department has a copy on file.

| # Contact: |  |
| --- | --- |
| Phone: | Fax: |
| Cell: |  |
| Email: |  |
| Company name: |  |
| Signature: |  |

| # Elevator Safety Code Compliance Accurate information is essential. |  |  |
| --- | --- | --- |
| North American Compliance: U.S. Canada |  |  |
| ASME A17.1/B44 Edition: 2019 2016 2013 2010 2007 2004 2000 |  |  |
| Addenda/Supplements: (None for A17.1-2010 and later) |  | 2008(a) 2005(a) 2002(a) 2009(b) 2005(S) 2003(b) |
| ASME A17.1-1996 Addenda: 1997(a) 1998(b) |  |  |
| Additional state or local code compliance |  |  |
| Chicago Fire Code (select one): Current OR 2001 |  |  |
| Denver | Pressurized hoistway |  |
| Maryland |  |  |
| Massachusetts (2004) |  |  |
| Michigan (NOTE: Detroit not supported.) |  |  |
| Nebraska |  |  |
| New York City |  |  |
| Washington State | Seattle |  |

Selective Collective (Supports single riser installation only)

Simplex Duplex1

Hoistway Configuration

Hoistway Configuration, Speed & Capacity. Floor Label2; Landing #; Floor Height; Car FSAE3; Car FSAE3; Lobby Floor; Parking Floor; Fire Service Recall Landing; Car Call Security Key Floor Lockout Card Reader Dry Contact 4 (24V Contact Rating); Pit Flood Operation; EMT Service. Main; Alternate; Main; Alternate. O.H.. 15-16. 14-15. 13-14. 12-13. 11-12. 10-11. 9-10. 8-9. 7-8. 6-7. 5-6. 4-5. 3-4. 2-3. 1-2. Pit.; Select floors served:. 16. 15. 14. 13. 12. 11. 10. 9. 8. 7. 6. 5. 4. 3. 2. 1. Capacity; lbs; kg; If no parking floor, car stays at last call answered. Park with Doors Open. Doors stay open without demand. Egress floor ___; Hoistway Sensor(s) Above lowest landing of recall At or below lowest landing of recall None At or below designated level; Key Floor Lockout Switch Location COP Lobby Card Reader Override Switch Location COP Lobby None Independent Service Override; Please indicate lowest landing car can serve in an event of a flood.; Please indicate main EMT return floor.. Car Speed; fpm; m/s. Total Car Travel:; ft; m. 1Only single machine room and single hoistway are supported for duplex applications. ### 2Floor Label note: For CE or E-Motive driver board, floor label should not be more characters than the number of digital PI display characters (). 3Fire Service Access Elevator: If selected, circuitry will be provided to enable hoistway lighting during Fire Service. 4Card Reader Dry Contact note: If selected, all floors will be secured by default. However, this can be changed in the controller configuration menu.

Line Voltage

3-Phase AC Line Voltage (actual measured line voltage) Symmetrical Grounded Leg Delta (ISO transformer required) Choose closest selection below:

208 220 240 440 460 480 575 600

60 Hz (standard in U.S.) 50 Hz Isolation Transformer

Available Fault Current from AC Feed (kA): Standard Controller SCCR (Short Circuit Current Rating): - Up to 50 hp: 5kA - 51-200 hp: 10kA - 201-400 hp: 18kA If the available fault current exceeds these standard values, please notify MCE for a quote.

IMPORTANT: Only NEMA 1 hoistway supported on this product. Reduced stroke buffers NOT supported.

# Traction Data IMPORTANT: Only AC geared machine with DC brake supported.

Machine Existing New Ring & Worm Helical Roping: 1:1 2:1 Brand: Machine Location: Overhead Basement (Not supported if Machine is >100ft from controller)

DC Brake Existing New Picking: Holding: Coil Resistance: Contact on Brake: N/O N/C

AC Motor Brand: HP: Voltage: FLA: # Poles: Sync RPM: FL RPM: Frequency:

Variable Voltage Variable Frequency Drive Magnetek HPV-900-S2 KEB F5

Digital Velocity Encoder Encoder: By MCE By Customer Cable: By MCE Cable Length: 25’ 50’ 75’ 100’(Required) By Customer

Traction Features Auxiliary Battery Power Supply (MCE TAPS) (Provides backup power for your AC controller, with sizing up to 30HP applications) Suspension-Means Monitoring (req’d for A17.1-2010 and later) Steel wire ropes ≥ 8mm (Standard) Steel wire ropes < 8mm* Suspension means other than steel wire ropes * * For non-standard suspension means, the customer must provide the Broken Suspension Member (2.20.8.2) or Suspension Member Residual Strength (2.20.8.3) monitoring means, including a normally closed contact.

# Emergency Brake (Sheave brake not supported)

ASME A17.1-2000/CSA B44-00 or later requires the addition of an emergency brake on all new traction elevators, per 2.19. Also note that some alterations may trigger the requirement to add an emergency brake as well, depending on the Code edition (e.g., change in type of service, operation or motion control; increase in rated load or speed; changing the location of or replacing the driving machine; or replacing the motion controller).

Hollister Whitney Hydraulic Rope Gripper (or equivalent) (Standard 120VAC power supply) Hollister Whitney Linear Rope Gripper (Standard 120VAC power supply)

Operating Features

Earthquake Service Seismic Switch By MCE By Customer Counterweight Derailment Device By MCE By Customer Alarm Button (required in COP; 2016 or later) Earthquake Hoistway Scan Switch in COP? (optional for 2016 and later) NOTE: A manually reset switch that is positively opened mechanically must be provided at the machine to detect the displacement of the suspension members or the suspension members’ retainer.

Earthquake Indicators (2016 and later) Earthquake Slow Speed (required in COP for EQ Hoistway Scan) Earthquake Mode (COP) Seismic Status (adjacent to each inspection station) Adjacent to controller Adjacent to car top inspection station Adjacent to in-car inspection switch Other inspection stations (list) Alarm bell in building audible in each car (activated by Alarm button COP; not powered by controller) Per car Per group

Emergency Power Generator Simplex Resume operation after recovering to closest floor Duplex Sequentially lowers both cars to lobby. 3-position Emergency power/standby switch (Auto / Car A / Car B) will select which elevator to run.

Fire Service Operation (Fire Operation Provided as Standard) Additional Phase 1 Recall Switch Nudging during Fire Recall

Inspection/Access Requirements Car Top Inspection Station by MCE (NEMA 1 only) In-Car (2-position switch) With Up/Down Buttons Hoistway Access (2-position switch on COP required) Top Bottom

Load Weigher EMCO Rope Tension Load Weigher (Simplex/Car A) Number of Ropes 4 5 6 7 8 Roping Diameter: 10mm 1/2" 9/16” 5/8” EMCO Rope Tension Load Weigher (Car B) Number of Ropes 4 5 6 7 8 Roping Diameter: 10mm 1/2" 9/16” 5/8” Discrete Load Weigher Interface

Recall Switch

Car to Lobby Switch Recall Landing: Floor Label: Park with doors: Open Closed Location of Switch: Car Hall

Car to Floor Switch Recall Landing: Floor Label: Park with doors: Open Closed Location of Switch: Car Hall

Car Shut Down Switch Recall Landing: Floor Label: Park with doors: Open Closed Location of Switch: Car Hall

Hoistway

Landing System Distance Feedback LS-EDGE Tape Length Required (ft): Tape Type: Steel (Std.) Stainless Steel LS-RAIL (Not currently available) (Not recommended on systems with slide guides due to wheel slip and contaminant issues)

EECO Limit Switch Note: Except for final limits, mechanical limits are not required with LS-EDGE.

Element Traveling Cable (see page 5 for details) Cable Length Required (ft): (Hang Length Max. 200 ft) Cable Accessories: Kellem Grips

*Requires customer supplied DC Power Supply.

| # Automatic Passenger Style Doors IMPORTANT: Only fully automatic, horizontally sliding, passenger-style doors are supported on this product. |  |  |  |
| --- | --- | --- | --- |
| Built-in: Door operator interface is built in. The controller can interface with the door operator directly. IPC Universal Interface: Interface with existing operator to open loop. Uses IPC Universal Interface Board. # SmarTraq Upgrade Kit: Upgrades existing door operator to closed loop. # Comes with drive interface and motor. |  |  |  |
| Door Operator |  |  |  |
| Manufacturer | Model |  | Interface |
| Armor | C4 |  | SmarTraq Upgrade Kit |
| ECI | 895 |  | Built-In |
|  | 1000 |  | Built-In |
|  | 2000 |  | Built-In |
|  | VFE2500 (220V only) |  | Built-In |
| GAL | MOD (220V only) |  | Built-In |
|  | MODHFL (220V only) |  | Built-In |
|  | MODP |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | MOVFR (220V only) |  | Built-In |
| Haughton | T |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | T1 |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | TH |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
| MCE | Profile |  | Built-In |
|  | SmarTraq |  | Built-In |
| Montgomery | MAC PMSSC |  | Built-In |
|  |  |  | SmarTraq Upgrade Kit |
|  | Old-Style MAC |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
| Otis | 7300 |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | 7782 |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | 6970A - Reactance |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | 6970A - Resistance |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | AT400* |  | Built-In |
|  | OVL (Gear Ratio 6:67.1) |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | OVL (Gear Ratio 11:33.1) |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
| TKE/Dover | 052 |  | IPC Universal Interface |
|  | DC-62 |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | DC-68 |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | HD-70 |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | HD-73 |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | HD-85 |  | SmarTraq Upgrade Kit |
|  | HD-91 |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | HD-98 |  | SmarTraq Upgrade Kit |
|  | HD-LM |  | Built-In |
|  | MKII |  | IPC Universal Interface |
|  | Type D |  | IPC Universal Interface |
| Westinghouse | A |  | SmarTraq Upgrade Kit |
|  | AA |  | IPC Universal Interface |
|  | B |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | BB |  | IPC Universal Interface |
|  | BB2 |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | E |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | E4A |  | IPC Universal Interface |
|  | EZ |  | SmarTraq Upgrade Kit |
|  | HY |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | MG |  | IPC Universal Interface |
|  |  |  | SmarTraq Upgrade Kit |
|  | MS |  | IPC Universal Interface |

Door Features Door Hold Operation (non-fire operation) Switch Button (default hold time = 120 seconds) Infrared detector unit/photo eye Cut-out switch in COP Nudging Output† Buzzer only (doors remain open) Reduced closing torque & buzzer Nudging with stuck photo eye † Buzzers/Lights must be 24VDC

Fixtures

Auxiliary Car Station Discrete wiring to main COP board. Provide additional serial COP board.

Call Registration Serial Car Call (standard) Serial Hall Call (standard)

Lanterns & Gongs/Chimes Car Lanterns† Discrete Serial 3-wire Hall Lanterns† (Only Serial 3-wire supported) Passing Floor Gong† Passing Floor Gong Enable (“S”) Button Interface † Buzzers/Lights must be 24VDC

Indicators† Call Registration Buzzer Door Hold Light Egress Floor Gong In-Service Light Security Light † Buzzers/Lights must be 24VDC

Serial Fixture Driver Format (Built into CPU board in controller) CE Electronics 3-Wire Micro Comm E-Motive 3-Wire Driver

Serial Fixture Pre-Wire Ship Serial Boards to fixture manufacture for pre-wire: Contact Person: Phone#: ( ) - C.E. Electronics EPCO Dupar Innovation Industries Monitor Mad ERM PTL Elevator Contractor Office Other Which boards to be sent? COP Hall Station Node

Voice annunciation MCE CE 3-wire driver board interface (built into controller) Other:

Element Traveling Cable