###### MCE to complete shaded area:

| MCE Job Number: | Date Received: |
| --- | --- |
| Job Name: | Job Engineer: |

Job Type

Federal Government	 DoD / UFGS	 Other Government

School or University	    (TSSA Cert. Req’d)	 State Government	 Hospital 	 Office Building	 Courthouse

Jail / Prison	 Other        	 Private

Site & Contact Information

Site Address

Owner Representative

Print Name:

Signature:

Title:

Business Phone:

Cell Phone:

eMail:

Address:

Contractor Information

Business Name:

Contact Name:

Business Phone:

Cell Phone:

eMail:

Address:

Consultant Information

Business Name:

Contact Name:

Business Phone:

Cell Phone:

eMail:

Address:

Form Completed By

Name:

Business Phone:

Cell Phone:

eMail:

Address:

Shipping Information

| Ship to Address: |  |
| --- | --- |
| Notice Required: | 24 hrs | 48 hrs |
| Lift Gate Truck Required: | Yes | No |

Logistics Information (continued)

Delivery & Payment Schedule

Standard MCE terms of payment (net 30 days) apply to your order. If you require special terms of payment, please provide an Alternative Payment Schedule.

# Per state tax laws, it is critical that MCE receive exemption or resale certificates prior to the material being shipped and billed.  If the job is a tax-exempt job, send the exemption certificate with this form. If you are a resale customer and have a resale certificate, please make sure that the MCE accounting department has a copy on file.

| Customer Job Number: |  |
| --- | --- |
| Customer PO Number: |  |
| Job Name: |  |
| Number of cars: |  |
| Control | Delivery Date | Payment Date |
| Car “ ” |  |  |
| Car “ ” |  |  |
| Car “ ” |  |  |
| Car “ ” |  |  |
| Car “ ” |  |  |
| Car “ ” |  |  |
| Group “ ” |  |  |

Delivery & Payment Schedule

If different payment terms are required, please provide an alternative proposal. Please include specifics of building owner payments and provide a copy of your contract.

Alternative Proposal Provided:  	  Yes    	 No

Contract Attached:                     	  Yes    	 No

# Job Push-Outs and Cancellation

Jobs pushed out by the customer more than 90 days beyond the originally scheduled date may be subject to cancellation charges as follows:

*     Before engineering commences: 10% of total sales order

*     After engineering completed:       30% of total sales order

*     After construction completed:      75% of total sales order

Extra Documentation

If this job requires additional engineering drawing packages or additional manuals, please indicate below.

| Drawing Sets | # Required: |
| --- | --- |
| Manuals | # Required: |

# Elevator Safety Code Compliance

Accurate information is essential. Both hardware and software are affected.

| Job Location (City/State): |
| --- |
| Contract Date: |
| Project Type: | New Construction | Modernization |
| Elevator Duty: | Passenger | Service | Freight |
| Measurements: | U.S./Imperial | S.I./Metric |
| North American Compliance: | U.S. | Canada |
| ASME A17.1/B44 Edition: 2019 |
| 2016 | 2013 | 2010 | 2007 | 2004 | 2000 |
| Addenda/Supplements: (None for A17.1-2010 and later) | 2008(a) | 2005(a) | 2002(a) |
|  | 2009(b) | 2005(S) | 2003(b) |
| ASME A17.1-1996/98 |
| ASME A17.1- (Specify edition & addenda) |
| International compliance: |
| Australia AS 1735 |
| EN 81 |
| Other (Specify): |
| Additional jurisdictional code compliance: |
| California medical facility OSHPD Seismic Certification (additional charge for certified cabinet) |
| Chicago Fire Code (select one): Current OR 2001 |
| Denver | Pressurized hoistway |
| GSA |
| Hawaii |
| Houston, TX | Existing Door Reopen Button, Fire Phase I |
| Maryland |
| Michigan | Permit/contract date prior to 6/21/2010? |
| Nebraska |
| New York City, NY | Appendix K | RS-18 |
| Seattle, Washington | Multiple Phase I Switches |
| Washington State | # of 3-position: _____ _____sws:___ | # of 2-position: _____ sws:___ |
| TSSA | Collapsible Car Top Guard Rail |
| UFGS Specs Specify Branch: |
| Additional Compliance Requirements? Explain: |
| Job Specification |
| Does project have job specifications? Yes No If yes, number of pages: Have specifications been forwarded to MCE? Yes No |

# Type of Operation

| Simplex |
| --- |
| Parking Floor: | Floor Label: |
| If no parking floor, car stays at last call answered. |
| Selective collective (intermediate floors have two call buttons in hall) |
| SAPB Single Automatic Pushbutton (intermediate floors have one call button in hall) |
| SBC Single Button Collective (intermediate floors have one call button in hall) |
| Duplex Selective Collective (provide hoistway and machine room drawings) |
| Parking: Primary Floor: Floor Label: Secondary Floor: Floor Label: First free car will park at Primary floor. Second free car will park at Secondary floor. If no parking floors, cars stay at last call answered floor. |
| Group Automatic (provide hoistway and machine room drawings) |
| Number of cars: Number of Hall Call Risers: |
| Lobby Landing #: | Floor Label: |
| Parking Floors: Number of cars to park: Floors to park at: (If no parking floor, cars stay at last call answered) (Once parking floors are full, other cars stay at last call answered) |
| Swing Car Operation Car(s): Activated by keyswitch: In car In hall Auto swing |
| Cross Registration Existing hall P/B schematics are required. |

# Fire Service Operation

| Fire Service Phase I |
| --- |
| Main Landing #: Floor Label: Doors will open: Front Rear Phase 1 Switch is: 2-position 3-position Alternate Landing #: Floor Label: Doors will open: Front Rear NOTE: For flood hazard zones, the designated and alternate fire recall floors should be at or above the base flood elevation. |
| Additional 2-position switch: Yes No For Federal jobs, location of additional 2-position switch: Landing #: Floor Label: |
| Hoistway sensors: | At or below lower level of recall Above lower level of recall |
| “Elevator Control Panel” (Chicago High Rise only) |
| Fire Service Phase II Fire Service Access Elevator(s)? (list) |
| Type of switch: 3-position 2-position Call Cancel Button: Yes No |
| Additional Fire Operation Requirements for Detroit MI, or GSA/Federal Jurisdictions: Shunt Trip Delay Heat Detectors: ( MR HW Each floor ) |

# Operating Features

| Attendant Service Yes No Attendant Annunciator Panel in car (Visual hall calls) |
| --- |
| Car-to-Lobby switch Yes No Location: Car Hall Remote Panel Park with doors: Open Closed Return Landing#: Floor Label: |
| Earthquake Service: | Yes | No |
| Code Compliance: | ASME | California (Group II) |
| Machine Type: | Traction | Winding Drum |
| Seismic switch | By MCE | By Customer |
| C/W derailment device | By MCE | By Customer |
| Earthquake light/buzzer | Car to operate on fire or hospital service |
| Earthquake hoistway scan switch in COP? (optional for 2016 and later) NOTE: A manually reset switch that is positively opened mechanically must be provided at the machine to detect the displacement of the suspension members or the suspension members’ retainer. |
| Emergency Medical Technician Service (EMT) Yes No |
| Return landing #: | Floor label: |
| Emergency Power Generator Yes No Does generator power other cars? Yes No If yes: Sequential lowering? (requires emergency power overlay) |
| If not sequential: Number of cars to run at a time: 1 2 3 : |
| Emer pwr contacts during normal pwr: Open Closed |
| Power pre-transfer contact – 10 sec minimum |
| Manual Select Switch Number of positions: Labels: Is emergency/standby power selector switch located at the designated level in view of all elevator entrances? Yes No |
| Flood Operation Yes No Lowest landing that the car can go in an event of a flood: Landing: ___ Floor Label: _____ NOTE: The designated and alternate fire recall floors should be at or above this level. |
| Foldable/Collapsible Cartop Rail Required: Yes No |
| Hospital Service (Code Blue) Yes No |
| Mark number of each car used for hospital service: 1 2 3 4 5 6 |
| Landing numbers served: |
| Number of hospital risers: 1 2 3 4 If more than one, list cars assigned to each: #1: #2: #3: #4: |
| Hospital Phase 2 Activation: Hospital Phase 2 switch Hospital service indicators Standard operation: Phase 1 – light flashes; Phase 2 – lights continuous |
| Independent Service Yes No Key switch location: Car (standard) Hall Pre-test switch in Controller |

| Operating Features (continued) |
| --- |
| Inspection/Access Requirements |
| Car Top Inspection Station by MCE (NEMA 1 only) Yes No |
| Extended Shaft Car Top Inspection Yes No (Bypasses 1st set of directional & final limits to move the car further up the hoistway during car top inspection; 2nd set of directional & final limits required, along with a separate multi-pole switch on car top complying with A17.1, 2.26.4.3; both sets of directional limits must be physical switches.) |
| Hoistway Access Operation | Yes | No |
| Top access switch: | Yes | No |
| Switch location: | Front | Rear |
| Bottom access switch: | Yes | No |
| Switch location: | Front | Rear |
| Select In-car Access (enable) switch type below. |
| In-Car Inspection Operation Yes No Using separate up/down buttons Yes No Select In-car Inspection (on/off) switch type below. |
| In-Car Inspection and/or Access Switch type (Only for ASME A17.1-2000/CSA B44-00 or later) 2-Position Inspection (on/off) switch 2-Position Access (enable) switch 3-Position Inspection (on/off) and Access (enable) switch . |
| Load Weighing Yes No |
| EMCO Load Weigher EMCO Rope Tension Load Weigher, Car: Number of ropes: 4 5 6 7 8 Roping: 1:1 2:1 Rope diameter: 10mm 1/2 in 9/16in 5/8 in If additional cars use same roping, and more load weighers are needed, indicate quantity here: If car roping varies, provide information for each car below. |
| EMCO Rope Tension Load Weigher, Car: Number of ropes: 4 5 6 7 8 Roping: 1:1 2:1 Rope diameter: 10mm 1/2 in 9/16in 5/8 in |
| EMCO Rope Tension Load Weigher, Car: Number of ropes: 4 5 6 7 8 Roping: 1:1 2:1 Rope diameter: 10mm 1/2 in 9/16in 5/8 in |
| K-Tech strain gauge (from MCE) |
| K-Tech strain gauge (from other) Model: |
| Other weigher Brand: Model: |
| Discrete weigher (dry contact interface) Anti-nuisance Lobby dispatch Hall call bypass Overload Hoist |

Monitoring Yes No

mView complete in machine room mView interface only to allow future connection

iMonitor / iReport, machine room or remote iMonitor / iReport interface only allow for future connection

IDS Liftnet Interface

Number of monitoring stations:

Distance from group to monitoring station: ft Is distance greater than 300ft? Yes No

Sabbath operation Yes No

Security Car Call Security Card reader lockouts (dry contacts) Car call card reader override switch Switch Location: Keyed floor lockout switches Switch location: Car Hall: Number of switches: Floor Lockouts via PC (iMonitor) Basic security (enter security code using car call buttons) Enable/disable via: Key-switch on/off ¦ Location: 7-Day Timer (hardware) Hall Call Security Card reader lockouts (dry contacts Hall call card reader override switch Single switch overrides all car and hall card readers. Location: Keyed floor lockout switches) Floor Lockouts via PC (iMonitor)

Bypass Security: (Fire service bypass is standard) Independent Service Attendant Service Other Specify:

Sound Reduction (additional cost) Yes No (for dynamic braking resistors)

Special Security Features:

Jail Security * Deputy/Marshal Service* Remote Car Station Control Evacuation Service * Child / Infant Abduction / Bracelet Operation Number of landings with detection device: Which Landings: Landing #:_ Floor label:_ Allow car to run if not at affected landing: Yes No Other * ( ) * additional details must be provided

Timed Fan Light Output: Yes No Used to turn cab fan/lights off after a user-adjustable length of time if the car is at a floor on automatic operation with the doors closed and no demand.

General Information

| Voltage |
| --- |
| Line voltage available (disconnect): |
| Line voltage measured: |
| AC 3 phase (symmetrical with respect to ground) AC 3 phase (grounded leg delta configuration) AC 2 phase AC single phase DC 60 Hz 50 Hz |
| Add Isolation Transformer: Yes No Add Voltage Surge Suppressor: Yes No Add Brown Out Circuit: Yes No Add Traction Auxiliary Power Supply(Backup power for controller, only up to 40hp) Yes No |
| Available Fault Current from AC Feed (kA): Standard Controller SCCR (Short Circuit Current Rating): Up to 50 hp: 5kA 51-200 hp: 10kA If the available fault current exceeds these standard values, please notify MCE for a quote. |
| Machine blower Voltage: Phase: FLA: |
| Reduced stroke buffers Buffer rating: fpm Buffer stroke: inches |
| Counterweight safety |
| Regenerative Drive: Yes No (returns overhauling power to main line) |
| Suspension-Means Monitoring (req’d for A17.1-2010 and later) |
|  | Steel wire ropes ≥ 8mm (Standard) |
|  | Steel wire ropes < 8mm * |
|  | Suspension means other than steel wire ropes * |
|  | * For non-standard suspension means, the customer must provide the Broken Suspension Member (2.20.8.2) or Suspension Member Residual Strength (2.20.8.3) monitoring means, including a normally closed contact. |
| Machine and Brake |
| Machine Existing New (by others) New (by MCE – complete additional form) MRL (machine roomless) Brand: |
| Geared Ring & Worm Helical External Tandem |
| Gearless AC PM AC Induction Encoder model:_________________________ |
| Roping: 1:1 2:1 |
| Brake Existing New Brand: |
| DC Brake (* Required Information) Voltage: *Pick: *Hold: *Coil resistance: Measured Data Sheet Contact on brake Type: N/O N/C |
| AC Brake (* Required Information) *Current/Fuse Size: Voltage: Phase: Single 3-phase |
| FOR MRL APPLICATIONS ONLY: Battery Backup Passenger Rescue w/Video |

# Governor

Jawless Governor (tension sheave switch required)

OSHPD (tail sheave dislodged switch required)

Remote Governor Set/Reset Coil Voltage: AC DC

# Emergency Brake

| ASME A17.1-2000/CSA B44-00 or later requires the addition of an emergency brake on all new traction elevators, per 2.19. Also note that some alterations may trigger the requirement to add an emergency brake as well, depending on the Code edition (i.e., change in type of service, operation or motion control; increase in rated load or speed; and replacing the driving machine or replacing the motion controller). |
| --- |
| Secondary/Independent Brake on machine Identical to Main Brake Other - Pick: Hold: Coil Resistance: |
| Hollister Whitney Rope Gripper (120VAC) Hilliard Brake Hydraulic Linear Rotary (110VDC) Bode Rope Brake MK Brake (# of Coils ) 120VAC Other: 100VDC 210VDC Torin Sheave Brake (110VDC) Clamp (220VAC) Thyssen Sheave Brake (125VDC) Draka Sure Stop (220VAC) Other: Make/Model Voltage: FLA: |
| Hoist Motor |
| Variable Frequency AC |
| Existing New New by MCE (fill additional form) Brand: HP: Volts: FLA: FL RPM: # Poles: Sync RPM: Frequency: For 2-speed motor, measure high speed winding. Encoder cable length: |
| Other name plate data: |
| Variable Voltage DC |
| Existing New New by MCE Brand: Volts: HP: RPM: FLA: |
| Other name plate data: |
| Shunt field voltage: Forcing: Full Speed: Standing: |
| Shunt field resistance: Measured Data Sheet # of coils: Series Series/Parallel Hot Cold |
| Loop Circuit Voltage while running (measure on motor brushes): Up empty car: VDC at speed: Down empty car: VDC at speed: |
| Loop Circuit Current while running: Up empty car: Amps at speed: Down empty car: Amps at speed: |
| Velocity feedback |
| By MCE | By others |
| Tachometer Flange Foot | Encoder Encoder cable length: (ft) |
| If gearless: | Drive sheave diameter: |
|  | Diameter of surface to run tach: |

Door Information

Car Gate

Automatic passenger style doors Powered freight style doors Manual doors Other:

Gate Release Solenoid (not standard) Yes No

Voltage: 3-Phase AC 1-Phase AC DC Fuse: 2A 3A Other:

# Hoistway Doors

Automatic passenger style doors Powered freight style doors Manual doors (complete below) Other: (complete below) Interlocks: Door Closed contact Yes No Door Locked contact Yes No Brand: Model: Door locking cam Retiring (not driven by automatic passenger style car gate) Voltage: 3-Ph AC 1-Ph AC DC Fuse: 2A 3A Other: Fixed cam Bar lock (manually operated) Mechanical (driven by automatic passenger style car gate)

# Door Features

Infrared detector unit/photo eye Cut-out switch in COP Anti-Nuisance

Mechanical safety edge

Heavy doors at landings (list landings):

Dual door operators on same side for wide opening

Cartop door open/close buttons (nonsolid state door operators)

Door Hold Operation (non-fire operation) Switch Button (max hold = 120 seconds)

Nudging Reduced torque with buzzer Buzzer only Ignore photo eye after seconds If safety edge or door open button activated, doors should: Stop Re-open Other:

# Sketch or Special Instructions

# Automatic Passenger Style Doors

| MCE |
| --- |
| SmarTraq Complete (Complete SmarTraq data forms) |
| SmarTraq Upgrade (Upgrades existing operator to closed loop. Mark existing model below.) |
| Profile Door Operator (Complete Profile data forms) |
| GAL |
| MOVFR I |  |
| MOVFR II | Voltage: 220VAC 110VAC (220 is default if no selection made) |
| MOMVC/MOHVC | MOM/MOH |
| MOD (230V) | MOSVCL |
| MOD (115V) | MOPM-P/MOPM-PL |
| MODHA | MOCT/MOCTA/MODCT/ MOMCT/MOHCT |
| MODVC/MODHVC | Motor Voltage: | 220 | 110 |
| MOA | Logic Voltage: | 220 | 110 |
| MAC/Kone |
| PM-SSC/104 Board | MAC (old style) |
| AMD/Kone |  |
| TKE/Dover |
| HD03M | HDLM |
| HD68/70/73/91 |  |
| HD98/85 (Requires SmarTraq upgrade kit) |
| Otis |
| 6970A – Resistance | 6970A – Reactance |
| 7300 | A7770A |
| 7782AA | OVL |
| iMotion 1 & 2 | AT400 |
| ECI |
| 895/1000 2000 | VFE2500 Voltage: 220VAC 115VAC (220 is default if no selection made) |
| Other |
| IPC Encore (closed loop) | Mitsubishi LV1/4K |
| Delco (closed loop) | Schindler QKS 14 & 15 |
| Atlantic/Vertisys Model: |
| Other (wiring diagram required): |

# Powered Freight Style Doors

| Door Controller Model |
| --- |
| Peelle | New | Existing |
| Model: | (electrical schematic required) |
| Courion | New | Existing |
| Model: | (electrical schematic required) |
| EMS | New | Existing |
| Model: | (electrical schematic required) |
| Other | New | Existing |
| Model: | (electrical schematic required) |
| Door Operation (freight only) |
| Opening: | Automatic | Momentary pressure |
| Closing: | Automatic | Momentary pressure |
|  |  | Constant pressure |
| Fire Ph. l Closing: | Automatic | Momentary pressure |
|  |  | Constant pressure |

Call Registration Indicators

All push buttons designed as standard mechanical style unless noted on special instructions

Car Calls: Voltage: 24 48 120 Other: AC DC Type: LED Neon Incandescent

Hall Calls: Voltage: 24 48 120 Other: AC DC Type: LED Neon Incandescent

Auxiliary Car Station: Yes No Total # of car stations in each car: 1 2 3 4

Serial Link (Fixtures must be 24VDC, 6 watts max)

Car Operating Panel Hall Calls Call pushbuttons must be mechanical.

Serial fixture boards to be sent to fixture manufacturer / contractor for pre-wire? Yes (If so, indicate where below) No Ship serial boards to: C.E. Electronics EPCO Dupar Innovation Industries Monitor MAD ERM PTL Elevator Contractor Office Please indicate Contact Person/ Number in Special Notes below Which boards to be sent? COP Hall Station

Position Indicators

Car MCE CE 3-wire driver board (built into controller) MCE E-Motive 3-wire driver board (built into controller) MAD OR Other [Customer-supplied Serial Device] (discrete signals from MCE only – fill in *Discrete section below) *Discrete signals (Multi-Light, serial, or non-serial digital) *Provide information below: Voltage: 24 48 120 Other: AC +DC -DC Type: Multi-light To customer-supplied external serial driver board Brand: Model: Driver Location(s): One line per floor Binary code begins at landing 1 00 01

Hall Location: All floors Main fire return Other: MCE CE 3-wire driver board (built into controller) MCE E-Motive 3-wire driver board (built into controller) MAD OR Other [Customer-supplied Serial Device] (discrete signals from MCE only – fill in *Discrete section below) *Discrete signals (Multi-Light serial, or non-serial digital) *Provide information below: Voltage: 24 48 120 Other: AC +DC -DC Type: Multi-light To customer-supplied external serial driver board Brand: Model: Driver Location(s): One line per floor Binary code begins at landing 1 00 01

Voice annunciation (ADA required over 200 FPM) MCE CE 3-wire driver board interface (built into controller) By other, discrete signals requested (i.e., fire service): Custom messages nonstandard please indicate below

Lanterns

Car lanterns MCE CE 3-wire driver board (built into controller) MCE E-Motive 3-wire driver board (built into controller) Discrete signals – Bulb wattage Voltage: 24 48 120 Other: AC DC Type: Chime Gong

Hall Lanterns MCE CE 3-wire driver board (built into controller) MCE E-Motive 3-wire driver board (built into controller) Discrete signals – Bulb wattage Voltage: 24 48 120 Other: AC DC Type: Chime Gong

Passing floor signal MCE CE 3-wire driver board (built into controller) MCE E-Motive 3-wire driver board (built into controller) Discrete signals Voltage: 24 48 120 Other: AC DC Type: Chime Gong Passing floor enable (“s” button)

| Status Indicators |
| --- |
| Type | Volts | AC | DC |
| Attendant Light | 24 48 120 Other: |  |  |
| Attendant Buzzer | 24 48 120 Other: |  |  |
| Earthquake Indicator/buzzer (pre-2016) | 24 48 120 Other: |  |  |
| Earthquake Indicators (2016 or later editions) |
| EQ Slow Speed Indicator (COP) (Required for hoistway scan operation) | 24 48 120 Other: |  |  |
| EQ Mode Indicator (COP) | 24 48 120 Other: |  |  |
| Seismic Status Indicator (Adjacent to each inspection station) | 24 48 120 Other: |  |  |
| Inside controller | 24 48 120 Other: |  |  |
| Adjacent to cartop inspection station | 24 48 120 Other: |  |  |
| Adjacent to in-car inspection switch | 24 48 120 Other: |  |  |
| Other inspection stations (list) | 24 48 120 Other: |  |  |
| Annunciator panel display | 24 48 120 Other: |  |  |
| Call Registration Buzzer | 24 48 120 Other: |  |  |
| Door Closing Buzzer (typically freight only) | 24 48 120 Other: |  |  |
| Door Hold Light | 24 48 120 Other: |  |  |
| Door Left Open Bell | 24 48 120 Other: |  |  |
| Emergency Power Light | 24 48 120 Other: |  |  |
| EMT Service Light, Car | 24 48 120 Other: |  |  |
| EMT Service Light, Hall | 24 48 120 Other: |  |  |
| Fire Light | 24 48 120 Other: |  |  |
| Fire Buzzer | 24 48 120 Other: |  |  |
|  | MCE CE 3-wire driver board (built into controller) |
| Hospital Light | 24 48 120 Other: |  |  |
| Hospital Buzzer | 24 48 120 Other: |  |  |
| In-Service Light | 24 48 120 Other: |  |  |
| In-Use Light | 24 48 120 Other: |  |  |
| Load Status Light | 24 48 120 Other: |  |  |
| Nudging Buzzer | 24 48 120 Other: |  |  |
|  | MCE CE 3-wire driver board (built into controller) |
|  | 24 48 120 Other: |  |  |
|  | 24 48 120 Other: |  |  |
|  | 24 48 120 Other: |  |  |

# Landings & Openings

| Ldg # | Floor Label | Floor Height | Car | Car | Car | Car | Car | Car |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | F | R | F | R | F | R | F | R | F | R | F | R |
|  | O.H. |  |  |
| 32 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | PIT |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Capacity: kg lbs |  |  |  |  |  |  |
| Up Speed:ms fpm |  |  |  |  |  |  |
| Down Speed: |  |  |  |  |  |  |
| Total Travel: m ft |  |  |  |  |  |  |

### NOTE: Floor Label note: If using CE or E-Motive driver board, floor label should not be 
             more characters than the number of digital PI display characters ()

| Number of hoistways: |
| --- |
| Hoistway NEMA Rating: 1 (standard) 12 4 4 X Other: |
| Landing System: |
| ELGO (standard) | Tape length: |
| LS-EDGE |  |
| Tape type: Steel (STD) Stainless Steel |
| LS-RAIL (compact, tapeless) Note: Not recommended for slide guides due to wheel slip. Note 2: Verify vertical overhead clearance of 10” above LS-RAIL mounting shelf. Verify horizontal clearance when car sheave exists on car top. MCE Mounting Pedestal (attaches to crosshead beams, extends over rollers) Pedestal total height 20.5” Landing system mounting shelf height adjustable, 11” to 20.5” above pedestal base. |
| Sprinkler Installations In machine room In hoistway In pit at 24” or less (NEMA 4 required below 48”) |
| EECO limit switches by MCE for Final limits only |
| TM Switch (music box) |
| Handheld Unit – mPAC (Recommended but not required) |
| MCE Traveling cable If yes, please fill out cable data form |
| Machine room space limitations? Indicate enclosure space available. Otherwise, enclosure size based on job requirements. (Check entry hall and door sizes.) H x W x D Machine room location: Overhead Basement Other Number of machine rooms: Machine room NEMA rating: 1(std) 12 4 4X Air-conditioned enclosure (recommended for all but NEMA 1) GFCI outlet required in enclosure (added charge) Light required in enclosure (added charge) |

NOTE: Hoistway Layout Forms are required for each unique landing configuration including riser, opening, and wall/barrier location. These forms must be filled out by hand and faxed to MCE. Enter the number of drawings you are submitting here:

# Text boxes

Logistics Information

In order to better serve you and meet your schedule, this form must be completed and signed. Timely delivery and trouble-free installation begin with this data form. Accurate and complete information is essential. Non-response to a question will be defined as meaning that the item does not apply.

Logistics & Code Data

Control Information

Operating Features

Motor, Machine & Brake

Doors Information

Fixtures

Landings & Openings

Hoistway Layout