MCE to complete shaded area

| MCE job number: | Date received: | PO# |
| --- | --- | --- |
| Job name: | Car Labels: |  |

Logistics Information A

Job Type

Federal Government		 State Government		 Other Government		 Hospital

School or University		 Office Building		 Private			 Other

Site & Contact Information

Site Address

Owner Representative

Print Name:

Signature:

Title:

Contact Information

Business Phone:

Cell Phone:

eMail:

Contact Address:

Form Completed By

Name:

Contact Information

Business Phone:

Cell Phone:

eMail:

Address:

Delivery & Payment Schedule

Standard MCE terms of payment (net 30 days) apply to your order. If you require special terms of payment, please provide an Alternative Payment Schedule.

| Customer Job Number: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Customer PO Number: |  |  |  |  |
| Job Name: |  |  |  |  |
| Number of cars: |  |  |  |  |
| Control |  | Delivery Date |  | Payment Date |
| Car “ ” |  |  |  |  |
| Car “ ” |  |  |  |  |
| Car “ ” |  |  |  |  |
| Car “ ” |  |  |  |  |
| Car “ ” |  |  |  |  |
| Car “ ” |  |  |  |  |
| Car “ ” |  |  |  |  |
| Car “ ” |  |  |  |  |
| Car “ ” |  |  |  |  |
| Car “ ” |  |  |  |  |
| Group “ ” |  |  |  |  |

Delivery & Payment Schedule

If different payment terms are required, please provide an alternative proposal. Please include specifics of building owner payments and provide a copy of your contract.

Alternative Proposal Provided:   Yes     No

Contract Attached:

Extra Documentation

If this job requires additional engineering drawing packages or additional manuals, please indicate below.

| Drawing Sets | # Required: |
| --- | --- |

Machine Room

NEMA Rating

1	 12	 4	 4X

Limited Space?

No  	 Yes

If Yes, Indicate limitations in grid below and FAX a copy of this page to MCE 916 463 9201. Show existing equipment and distance to obstructions in all directions.

Power Information

Voltage

Line voltage available:

Line voltage measured:

AC 3 phase (symmetrical with respect to ground) AC 3 phase (grounded leg delta configuration)* AC 2 phase AC single phase DC 60 Hz 50 Hz

Type of Operation

Group automatic Number of cars: Lobby Land #: Floor Label: # Risers:

Swing car operation Car Labels:

Grouping cable lengths: Specify individual lengths for daisy chaining between control cabinets. Allow 5’ on each end for hook-up inside controller cabinet.

Cross Cancellation Panel (existing hall p/b schematics required.

Fire Service Operation

Fire Service Phase I

Main Landing # : Floor Label: Open doors: Front Rear

Type of Switch: 3 Position 2 Position

Additional 2-position switch: Yes No Switch Location: Landing #: Floor Label:

Alternate Landing # : Floor Label: Open doors: Front Rear

Fire Service Phase II

Type of Switch: 3 Position 2 Position

Call Cancel Button: Yes No

Door Features

Dual Beam Photo-Electric Eyes: Yes No

Mechanical Safe-Edge: Yes No

Infrared Detector: Yes No Brand & Model:

Cut-Out Switch in C.O.P. for Photo- Electric Eyes or Infrared Detector: Yes No In Panels: Front Rear

Door Open Button: Yes No Panels: Front Rear

Door Close Button: Yes No Panels: Front Rear

Door Hold Operation: Yes No Panels: Front Rear Type: Pushbutton Switch If momentary, max. hold time = 120 sec.

California Smoke Bypass Button: Yes No

Nudging: Yes No Reduced Torque w/Buzzer Buzzer Only Ignore Photo-Electric Eye or Infrared Detector If Safe-Edge or Door Open Button activated, doors should: Stop Reopen

Other:

Operating Features

Anti-Nuisance (uses photo eye input): Yes No Max # of Stops Allowed:

Attendant Service: Yes No Annunciator Panel

Car-to-Lobby Switch: Yes No Park with Doors: Open Closed Return Landing #: Floor Label:

Earthquake Operation: Yes No Code compliance: ASME California

Emergency Power: Yes No Em. Pwr. Contacts During Normal Power: Open Closed Power Pre-Transfer Contact - 10 Sec Min Manual Select Switch # of positions: Labels:

Hospital Service: Yes No At Landing #: Floor Label:

Independent Service: Yes No Key Switch Location Hall Car

Load Weighing: Yes No Discrete Switches for Load Weighing: Anti-Nuisance Lobby Dispatch Hall Call Bypass Overload

M/G Switch: Yes No Location of Switch Car Hall Return Landing #: Floor Label:

Sabbath Operation: Yes No

Security: Yes No MCE Basic Security: CRT BSI ACE Security (# of Users: ) Call Cut-Out Switches Keyed Card Reader Dry Contacts Car Call Cutout Hall Call Cutout Other Security:

Bypass Security: Yes No Independent Service Attendant Service Other

Landings, Labels, Cars

| If more than 6 cars or 32 landings, use Expanded Landing System Form. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ldg # | Floor Label | Car |  | Car |  | Car |  | Car |  | Car |  | Car |  |
|  |  | F | R | F | R | F | R | F | R | F | R | F | R |
| 32 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |

Fixture Information

Fixtures are 120VAC unless otherwise specified.

Auxiliary Car Station: Yes No

Call Registration Indicators: Car Hall 120VAC Incandescent Car Hall 120VAC Neon Car Hall 48VAC  Incandescent  LED* Car Hall 24VAC  Incandescent  LED* Car Hall Other Note: LEDs over 48 volts illuminate continuously.

Serial Link COP Hall Calls

Serial Communication Boards Supplied By: MCE Innovation Other Note: All fixtures must be 24VDC and 6 watts maximum.

Call Pushbutton Mechanical Otis Touch Button Piezo Type Touch Bias Voltage: Volts AC DC Indicator: Volts AC DC

Lanterns Hall Car (# of Jamb Arrows ) Bulb Wattage Watts With Gongs Volts AC DC With Chimes Volts AC DC

Passing Floor Gong/Buzzer: Yes No Volts AC DC Enable Button (“S” button): Yes No

Status Indicators Volts AC DC

Attendant Light/Buzzer

Door Closing Buzzer

Door Hold Light

Door Left Open Bell

EMT Light – Car

EMT Light – Hall

Fire Light/Buzzer

Hospital Light/Buzzer

In-Service Light

In Use Lights

Load Status Lights

MCE Security Light

M/G Light

Nudging Buzzer

Multi Purpose Indicator

Other Indicator

Position Indicators (PI’s) Bulb Wattage Watts

Multi-Light Car w/Arrows Volts AC DC Hall w/Arrows Volts AC DC At which landings: Floor Labels:

Digital Brand & Model: Car w/Arrows Volts AC DC Hall w/Arrows Volts AC DC At which landings: Floor Labels: One Line Per Floor Inputs Binary Input Input Format: 00 01 Other Input: 120VAC Common - Standard Other Common: Volts AC DC If DC Positive Negative MCE C.E. Electronics Interface Driver C.E. Digital PI’s Remote Display Indicators (RDI’s) must be 3 Wire Style (Series Micro Comm). Serial Fixture Driver Please describe:

Voice Annunciation MCE Flex Talk (Please complete Flex-Talk Data Form) Other:

Hoistway Layout

Hoistway Layout Forms are required for each unique landing configuration including riser, opening, and wall/barrier location. These forms must be filled out by hand and faxed to MCE. Enter the number of drawings you are submitting here: